## Sheet1
Phase 1:Detector Functionality Checks
| Study Details |  | CLAS12/DAQ/Trigger | Time Needed | Manpower
1 | LTCC High Voltages, FADC and TDC
| check supply currents |  | ltcc self trigger, strip charts | 1hr | Mauri, Cole
| check disc/FADC scalers/rates |  | ltcc self trigger, strip charts | 1hr | Mauri
| check that all FADC are on and within acceptable range |  | ltcc self trigger | 1hr | Mauri
| check TDC/FADC spectra |  | ltcc self trigger | 1hr | Mauri
| check gain calibrations vs. B=0 |  | ltcc self trigger | 1hr | Sergey, Mauri
| Online Tools: |  | ltccmon, EPICS scalers, Slow Controls (HV)
| Offline Requirements: |  | none
2 | Gas System
| check flow rate, pressure |  | none | 12hrs | Mauri, G. Jacobs
| Online Tools: |  | none
| Offline Requirements: |  | Epics Scalers, Slow Controls (Gas system)
Phase 2:Detector Optimization
|  |  | CLAS12/DAQ/Trigger | Time Needed | Manpower
1 | SPE Calibration
| Align SPE signals |  | ltcc self trigger | 2 hrs | Sergey, Mauri
| Online Tools: | ltccmon, EPICS scalers, Slow Controls (HV)
| Offline Requirements: | none
Phase 3: Detector Performance Studies
| Study Details |  | CLAS12/DAQ/Trigger | Time Needed | Manpower
1 | Online SPE Calibration
| Align SPE signals using normal clas12 data |  | nominal electron trigger | no specific to LTCC, normal clas12 data | Sergey, Mauri
| Online Tools: | ltccmon, EPICS scalers, Slow Controls (HV)
| Offline Requirements: | ltccCal, calDB
2 | LTCC Track Matching
| Match reconstruction track with LTCC cluster |  | nominal electron trigger | no specific to LTCC, normal clas12 data | Mauri, Temple U
| Online Tools: | none
| Offline Requirements: | coatjava, LTCC calibration suite
3 | LTCC Time Matching
| Study LTCC cluster timing with track |  | nominal electron trigger | no specific to LTCC, normal clas12 data | Mauri, Temple U
| Online Tools: | none
| Offline Requirements: | coatjava, LTCC calibration suite
Phase 4: Additional Checks
| Study Details |  | CLAS12/DAQ/Trigger | Time Needed | Manpower
1 | Luminosity Studies
| Study LTCC response with different currents |  | nominal electron trigger | no specific to LTCC, normal clas12 data | Mauri, Temple U
| Online Tools: | none
| Offline Requirements: | coatjava, LTCC calibration suite
1 | Field Studies
| Study LTCC response with different fields |  | nominal electron trigger | no specific to LTCC, normal clas12 data | Mauri, Temple U
| Online Tools: | none
| Offline Requirements: | coatjava, LTCC calibration suite
Study Details: Provide brief description of study to be done
CLAS12/DAQ/Trigger: Provide brief description of CLAS12, DAQ, trigger configuration
Time Needed: Provide work duration including efficiency factor
Manpower: List manpower requirements
Online Tools: List what GUIs, monitoring tools, software are required
Offline Requirements: List offline work required to complete study