## mirror reflectivity
Date (mm/dd/yyyy) | 2013-01-08 |  |  | LTCC Hyperboloid |  | Beamsplitter Calib 2 |  | LTCC small sample |  | LTCC large sample |  | LTCC test mirror
Time (HH:MM 24-hr format) | 14:35 | Lambda (nm) | Photon Energy (eV) | Incident photocurrent (nA) | Reflected photocurrent (nA) | Reflected | Transmitted | Incident photocurrent (nA) | Reflected photocurrent (nA) | Incident photocurrent (nA) | Reflected photocurrent (nA) | Incident photocurrent (nA) | Reflected photocurrent (nA) | R/T | LTCC Hyp Reflectivity | Witness Reflectivity | Sample Reflectivity | LTCC Spare Reflectivity
Translation Stage x (mm) |  | 200 | 6.2 | 0.0298 | 0.0018 | 0.0301 | 0.0032 | 0.0306 | 0.0023 | 0.0312 | 0.0023 | 0.031 | 0 | 9.4062 | 0.56816 | 0.70701 | 0.69341 | 0
Translation Stage z (mm) |  | 210 | 5.9048 | 0.136 | 0.0103 | 0.137 | 0.0186 | 0.136 | 0.0136 | 0.136 | 0.0142 | 0.134 | 0.002 | 7.3656 | 0.55784 | 0.73656 | 0.76905 | 0.10993
Gimbal yaw (deg) |  | 220 | 5.6364 | 0.0957 | 0.057 | 0.0978 | 0.0984 | 0.098 | 0.0774 | 0.0986 | 0.0793 | 0.098 | 0.017 | 0.9939 | 0.59198 | 0.78498 | 0.79936 | 0.17241
Photodiode A position (cm) |  | 230 | 5.3913 | 0.177 | 0.0617 | 0.178 | 0.111 | 0.178 | 0.0902 | 0.179 | 0.0923 | 0.174 | 0.02 | 1.6036 | 0.559 | 0.81261 | 0.82689 | 0.18432
Photodiode B position (cm) |  | 240 | 5.1667 | 0.178 | 0.0685 | 0.178 | 0.121 | 0.178 | 0.103 | 0.178 | 0.105 | 0.172 | 0.02 | 1.4711 | 0.56612 | 0.85124 | 0.86777 | 0.17106
Splitter position (cm) |  | 250 | 4.96 | 0.107 | 0.0983 | 0.108 | 0.157 | 0.109 | 0.135 | 0.109 | 0.137 | 0.105 | 0.032 | 0.6879 | 0.63197 | 0.85198 | 0.86461 | 0.20965
Splitter type (UV or VIS) |  | 260 | 4.7692 | 0.113 | 0.0765 | 0.113 | 0.111 | 0.114 | 0.0968 | 0.114 | 0.0982 | 0.109 | 0.024 | 1.018 | 0.68919 | 0.86442 | 0.87692 | 0.22415
Lamp on time (HH:MM 24-hr) | 9:45 | 270 | 4.5926 | 0.0947 | 0.064 | 0.095 | 0.086 | 0.0954 | 0.0757 | 0.0955 | 0.0767 | 0.09 | 0.019 | 1.1047 | 0.74654 | 0.87654 | 0.88719 | 0.2332
Lamp off time (HH:MM 24-hr) |  | 280 | 4.4286 | 0.0893 | 0.0512 | 0.0894 | 0.066 | 0.0899 | 0.0586 | 0.0901 | 0.0593 | 0.087 | 0.015 | 1.3545 | 0.77663 | 0.88294 | 0.8915 | 0.23354
Photodiode A noise current (pA) |  | 290 | 4.2759 | 0.0731 | 0.0514 | 0.0732 | 0.0646 | 0.0732 | 0.058 | 0.0733 | 0.059 | 0.071 | 0.016 | 1.1331 | 0.79675 | 0.89783 | 0.91207 | 0.25535
Photodiode B noise current (pA) |  | 300 | 4.1333 | 0.0592 | 0.0512 | 0.0594 | 0.0635 | 0.0594 | 0.057 | 0.0595 | 0.0576 | 0.057 | 0.016 | 0.93543 | 0.80902 | 0.89764 | 0.90556 | 0.26258
Temperature (F) |  | 310 | 4 | 0.0493 | 0.0426 | 0.0491 | 0.0525 | 0.0494 | 0.0472 | 0.0493 | 0.0476 | 0.048 | 0.014 | 0.93524 | 0.80814 | 0.89359 | 0.90299 | 0.27278
Humidity (%) |  | 320 | 3.875 | 0.0409 | 0.0355 | 0.0409 | 0.0438 | 0.0411 | 0.0394 | 0.0411 | 0.0397 | 0.04 | 0.01 | 0.93379 | 0.8105 | 0.89517 | 0.90198 | 0.23345
Additional comments |  | 330 | 3.7576 | 0.0325 | 0.0307 | 0.0324 | 0.0381 | 0.0325 | 0.0343 | 0.0325 | 0.0347 | 0.031 | 0.011 | 0.85039 | 0.80329 | 0.89749 | 0.90796 | 0.30175
Incident - diode A -12141 |  | 340 | 3.6471 | 0.025 | 0.0274 | 0.025 | 0.0344 | 0.025 | 0.031 | 0.0249 | 0.0314 | 0.024 | 0.01 | 0.72674 | 0.79651 | 0.90116 | 0.91646 | 0.30281
Reflected - diode B - 12145 |  | 350 | 3.5429 | 0.0192 | 0.0231 | 0.0192 | 0.0293 | 0.0193 | 0.0264 | 0.0193 | 0.0267 | 0.019 | 0.009 | 0.65529 | 0.7884 | 0.89636 | 0.90654 | 0.3104
Picoammeters on "relative" setting |  | 360 | 3.4444 | 0.0159 | 0.0178 | 0.0158 | 0.023 | 0.016 | 0.0207 | 0.0158 | 0.0208 | 0.015 | 0.007 | 0.68696 | 0.76905 | 0.88875 | 0.90435 | 0.32058
|  | 370 | 3.3514 | 0.0148 | 0.0144 | 0.0148 | 0.0188 | 0.0149 | 0.0169 | 0.0148 | 0.017 | 0.014 | 0.006 | 0.78723 | 0.76596 | 0.8929 | 0.90426 | 0.33739
|  | 380 | 3.2632 | 0.0162 | 0.014 | 0.0161 | 0.0184 | 0.0161 | 0.0165 | 0.0161 | 0.0167 | 0.016 | 0.006 | 0.875 | 0.75617 | 0.89674 | 0.90761 | 0.32812
|  | 390 | 3.1795 | 0.0159 | 0.0128 | 0.0158 | 0.0168 | 0.0161 | 0.0151 | 0.0159 | 0.0153 | 0.016 | 0.0055 | 0.94048 | 0.75711 | 0.88206 | 0.90499 | 0.32329
|  | 400 | 3.1 | 0.0164 | 0.0125 | 0.0162 | 0.0166 | 0.0162 | 0.0149 | 0.0163 | 0.015 | 0.016 | 0.0055 | 0.9759 | 0.74383 | 0.89759 | 0.89807 | 0.33547
|  | 410 | 3.0244 | 0.0155 | 0.0112 | 0.0155 | 0.0148 | 0.0155 | 0.0131 | 0.0154 | 0.0133 | 0.015 | 0.005 | 1.0473 | 0.75676 | 0.88514 | 0.90448 | 0.3491
|  | 420 | 2.9524 | 0.0164 | 0.0105 | 0.0164 | 0.0138 | 0.0165 | 0.0123 | 0.0164 | 0.0124 | 0.016 | 0.005 | 1.1884 | 0.76087 | 0.8859 | 0.89855 | 0.37138
|  | 430 | 2.8837 | 0.0158 | 0.0101 | 0.0156 | 0.0131 | 0.0156 | 0.0116 | 0.0155 | 0.0117 | 0.015 | 0.004 | 1.1908 | 0.76123 | 0.8855 | 0.89889 | 0.31756
|  | 440 | 2.8182 | [8 empty] | 0.014 | 0.004 |  | 0.76 | 0.885 | 0.898 | 0.35
|  | 450 | 2.7556 | [8 empty] | 0.014 | 0.004 |  | 0.76 | 0.885 | 0.898 | 0.35
|  | 460 | 2.6957 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 470 | 2.6383 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 480 | 2.5833 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 490 | 2.5306 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 500 | 2.48 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 510 | 2.4314 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 520 | 2.3846 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 530 | 2.3396 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 540 | 2.2963 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 550 | 2.2545 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 560 | 2.2143 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 570 | 2.1754 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 580 | 2.1379 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 590 | 2.1017 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 600 | 2.0667 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 610 | 2.0328 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 620 | 2 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 630 | 1.9683 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 640 | 1.9375 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35
|  | 650 | 1.9077 | [11 empty] | 0.76 | 0.885 | 0.898 | 0.35

## refl. summary
Lambda (nm) | LTCC Hyp Reflectivity | Witness Reflectivity | Sample Reflectivity
200 | 0.56816 | 0.70701 | 0.69341
210 | 0.55784 | 0.73656 | 0.76905
220 | 0.59198 | 0.78498 | 0.79936
230 | 0.559 | 0.81261 | 0.82689
240 | 0.56612 | 0.85124 | 0.86777
250 | 0.63197 | 0.85198 | 0.86461
260 | 0.68919 | 0.86442 | 0.87692
270 | 0.74654 | 0.87654 | 0.88719
280 | 0.77663 | 0.88294 | 0.8915
290 | 0.79675 | 0.89783 | 0.91207
300 | 0.80902 | 0.89764 | 0.90556
310 | 0.80814 | 0.89359 | 0.90299
320 | 0.8105 | 0.89517 | 0.90198
330 | 0.80329 | 0.89749 | 0.90796
340 | 0.79651 | 0.90116 | 0.91646
350 | 0.7884 | 0.89636 | 0.90654
360 | 0.76905 | 0.88875 | 0.90435
370 | 0.76596 | 0.8929 | 0.90426
380 | 0.75617 | 0.89674 | 0.90761
390 | 0.75711 | 0.88206 | 0.90499
400 | 0.74383 | 0.89759 | 0.89807
410 | 0.75676 | 0.88514 | 0.90448
420 | 0.76087 | 0.8859 | 0.89855
430 | 0.76123 | 0.8855 | 0.89889
440 | 0.76 | 0.885 | 0.898
450 | 0.76 | 0.885 | 0.898
460 | 0.76 | 0.885 | 0.898
470 | 0.76 | 0.885 | 0.898
480 | 0.76 | 0.885 | 0.898
490 | 0.76 | 0.885 | 0.898
500 | 0.76 | 0.885 | 0.898
510 | 0.76 | 0.885 | 0.898
520 | 0.76 | 0.885 | 0.898
530 | 0.76 | 0.885 | 0.898
540 | 0.76 | 0.885 | 0.898
550 | 0.76 | 0.885 | 0.898
560 | 0.76 | 0.885 | 0.898
570 | 0.76 | 0.885 | 0.898
580 | 0.76 | 0.885 | 0.898
590 | 0.76 | 0.885 | 0.898
600 | 0.76 | 0.885 | 0.898
610 | 0.76 | 0.885 | 0.898
620 | 0.76 | 0.885 | 0.898
630 | 0.76 | 0.885 | 0.898
640 | 0.76 | 0.885 | 0.898
650 | 0.76 | 0.885 | 0.898

## pmt q.e.
190 | 0 | 0 | 0.1305
200 | 0 | 0.005 | 0.1612
210 | 0 | 0.0227 | 0.1836
220 | 0 | 0.0472 | 0.195
230 | 0 | 0.0701 | 0.2038
240 | 0 | 0.0909 | 0.2093
250 | 0 | 0.1042 | 0.2158
260 | 0 | 0.1197 | 0.2189
270 | 0.0028 | 0.1378 | 0.2223
280 | 0.027 | 0.1532 | 0.2219
290 | 0.0569 | 0.1642 | 0.2219
300 | 0.0868 | 0.1703 | 0.224
310 | 0.122 | 0.1836 | 0.2268
320 | 0.1515 | 0.1976 | 0.2236
330 | 0.1695 | 0.2059 | 0.2288
340 | 0.186 | 0.2181 | 0.2301
350 | 0.2009 | 0.2236 | 0.2275
360 | 0.2142 | 0.2291 | 0.2291
370 | 0.2229 | 0.2309 | 0.2309
380 | 0.2372 | 0.2372 | 0.2372
390 | 0.2394 | 0.2394 | 0.2394
400 | 0.2418 | 0.2418 | 0.2418
410 | 0.2401 | 0.2401 | 0.2401
420 | 0.2344 | 0.2344 | 0.2344
430 | 0.2249 | 0.2249 | 0.2249
440 | 0.2122 | 0.2122 | 0.2122
450 | 0.2017 | 0.2017 | 0.2017
460 | 0.1892 | 0.1892 | 0.1892
470 | 0.1725 | 0.1725 | 0.1725
480 | 0.1602 | 0.1602 | 0.1602
490 | 0.1435 | 0.1435 | 0.1435
500 | 0.1265 | 0.1265 | 0.1265
510 | 0.1116 | 0.1116 | 0.1116
520 | 0.0916 | 0.0916 | 0.0916
530 | 0.0753 | 0.0753 | 0.0753
540 | 0.0609 | 0.0609 | 0.0609
550 | 0.0482 | 0.0482 | 0.0482
560 | 0.0376 | 0.0376 | 0.0376
570 | 0.0289 | 0.0289 | 0.0289
580 | 0.0216 | 0.0216 | 0.0216
590 | 0.0149 | 0.0149 | 0.0149
600 | 0.0105 | 0.0105 | 0.0105
610 | 0.0065 | 0.0065 | 0.0065
620 | 0.004 | 0.004 | 0.004
630 | 0.0024 | 0.0024 | 0.0024
640 | 0.0014 | 0.0014 | 0.0014
650 | 0 | 0 | 0