CLAS12 Light Threshold Cherenkov Counter (LTCC)

WBS 2.4.2.2.4.2

**Activity ID** – 242242170

**Activity Name** – Patch Panel Connectors Procurement

Budget amount: $17,364

The budget includes hermetical High Voltage and Signal connectors for the LTCC patch/panel:

* 220 Bulkhead Hermetically Sealed SHV Jack to SHV JACK Adapter, unit cost $55, Total: $12,100.
* 512 Bulkhead hermetically sealed BNC female to BNC female adapter, unit cost $10.28, total $5,264.

The budget estimate is based on PR 315838 for the HTCC detector connectors, and will be adjusted upon vendor quotes.